Inverted field interferometer for measuring the topological charge of optical vortices

Nikolay Dimitrov1, Maya Zhekova1, Gerhard G. Paulus2,3 and Alexander Dreischuh1

1Department of Quantum Electronics, Faculty of Physics, Sofia University "St. Kliment Ohridski", 5, J. Bourchier Blvd., Sofia-1164, Bulgaria

2Institute of Optics and Quantum Electronics, Friedrich Schiller University, Max-Wien-Platz 1, D-07743 Jena, Germany

3Helmholtz Institute Jena, Helmholtzweg 4, D-7743 Jena, Germany

e-mail: nrd@phys.uni-sofia.bg

We present a novel technique for measuring both the magnitude and sign of the topological charge (TC) of optical vortex beams. The method itself relays on well aligned collinear inverted field interferometer (IFI) setup. IFI differs from usual interferometers in the number of reflections in their arms prior to the final overlap of the beams [1]. Then, as a result of an additional reflection in one of the arms, the two interfering beams propagate collinearly with one of the beams being flipped with respect to the second one. Letting a vortex beam with an unknown TC to pass through it, one can observe/record an interference pattern resembling the so called “necklace beam” [2, 3] profile. As a first step, the modulus of the TC can be determined by counting the number of observed pattern peaks, which corresponds to the double of the absolute value of input beam TC. As a second step, the time delay in the interferometer can be changed causing rotation of the interference peaks. When using calibrated IFI, the direction of this rotation determines the sign of the TC of the OV. Simulations, based on analytical model, and experimental evidences for the interference signal obtainable at the output of IFI are in an excellent agreement. These results are valid for both continuous wave and femtosecond optical vortex beams and pulses with an eventual pulse front tilt [1, 4]. An IFI also appears to be a valuable tool for calibrating a built-in variable delay line and for estimating an eventual pulse front tilt of the input ultrashort laser pulses without any realignment.

AKNOWLEGEMENTS: This work was supported by the National Science Fund (Bulgaria) within the framework of project DM18/5 20.12.2017.

REFERENCES

[1] N. Dimitrov et al., Opt. Com. 371, 51 (2016).

[2] M. Soljacic, S. Sears, M. Segev, Phys. Rev. Lett. 81, 4851 (1998).

[3] L. Stoyanov et al., J. Opt. Soc. Am. B 34, 801 (2017).

[4] N. Dimitrov et al., Bulg. J. of Phys. 44, 99 (2017).