Designer kit for an affordable and compact 0.1 – 1 TW laser

A.M. Rodin and P. Mackonis

Solid State Laser laboratory, Center for Physical Sciences and Technology, Vilnius, Lithuania

e-mail: aleksej.rodin@ftmc.lt

Cost-effective and compact next-generation lasers with TW level of peak power are in demand for emerging applications in biology, medicine, microelectronics, space technology and materials science. Since the first Optical Parametrical Chirped Pulse Amplifier (OPCPA) was reported [1], many advanced architectures of high peak power lasers have been developed [2]. Typically, TW-class lasers take up a lot of space, and development and maintenance costs limit their use. Therefore, such systems are commonly used by many scientists with limited access time. As for Europe, access to Extreme Light Infrastructure (ELI) remains difficult outside of the Czech Republic, Hungary and Romania. For widespread use of high peak power lasers, it is vital to pay attention to reducing the size and cost.

We have developed and tested an advanced architecture for high peak power lasers based on easily reproducible modules: fiber seed laser front-end, two-cascaded double-pass chirped pulse amplifier (CPA) based on Yb:YAG rods with low doping level, grating compressor, supercontinuum generation in YAG, second harmonic generation (SHG), four stages of non-collinear optical parametric amplifier (NOPA), and chirped mirrors compressor. Using the same Yb:YAG DPSS-source of output pulses with a pulsewidth of 1.1 ps for pumping NOPA and supercontinuum generation provides internal synchronization and, thus, greatly simplifies the scheme. Particular attention is paid to improving the energy conversion efficiency by reusing depleted pump in SHG and NOPA, as well as maintaining a wide spectral bandwidth due to M-shaping of picosecond pump pulses. The pulsewidth after compression reaches 15 fs, and the output energy is mainly limited by the number and power of laser diodes used for pumping, providing the output peak power of the laser system from 0.1 to 1 TW. The experimental scheme is assembled on an optical table measuring 1 x 3 m2, all components used are commercially available, and the repeatability is confirmed by student interns.

We also demonstrate the generation of a multi-octave supercontinuum with a long-wavelength wing up to 2500 nm with an energy and beam pointing stability exceeding the pumping source. This makes it possible to apply a similar architecture when developing a sub-TW laser in the spectral region of 2 microns for the high order harmonics generation (HHG).

High energy, high repetition rate ultrashort laser pulses allow to create point x-ray sources and, thus, significantly increase the contrast and resolution of medical X-ray tomography. At present, such lasers are usually based on relatively outdated Ti:S with a limited repetition rate or based on OPCPA with limited conversion efficiency. Possible alternative concepts for obtaining high-energy ultrashort laser pulses will be discussed.

REFERENCES

[1] A. Dubietis, G. Jonušauskas and A. Piskarskas, Powerful femtosecond pulse generation by chirped and stretched pulse parametric amplification in BBO crystal, Opt. Comm. 88 (1992): 437-440

[2] National Academies of Sciences, Engineering, and Medicine, Opportunities in Intense Ultrafast Lasers: Reaching for the Brightest Light, (Academies Press, Washington, 2018). https://doi.org/10.17226/24939