In vivo Third Harmonic Generation Imaging of Phycomyces blakesleeanus

T. Pajic1, K. Stevanovic1, N. Todorovic2, A. Krmpot3, M. Rabasovic3, B. Jelenkovic3, and M. Zivic1

1Faculty of Biology, University of Belgrade, Serbia

2Institute for Biological Research, University of Belgrade, Serbia

3Institute of Physics, University of Belgrade, Serbia

e-mail: tpajic@bio.bg.ac.rs

Third Harmonic Generation is a nonlinear optical effect in which the incident laser beam interacts with a medium producing the light of exactly three times shorter wavelength than the incidental one. THG is generated in medium that have third order nonlinearity, but it is particularly pronounced at the interfaces where the steep change of refractive index takes a place [Boyd, 2008]. THG phenomenon is employed in laser scanning microscopy that utilizes ultrashort laser pulses for imaging. The THG microscopy is a label free techniques that provides important information on the sample such as membrane imaging and lipid droplets distribution [Débarre et al., 2006]. It is mostly used for in vivo imaging of small model organisms like zebrafish [Olivier et al., 2010] and C. Elegance [Tserevelakis et al., 2010].

We present THG imaging of filamentous fungus organism Phycomyces blakesleeanus, combined with Two Photon Excitation fluorescence (TPEF). The hyphae were grown in various conditions on glass coverslips coated with collagen and concanavalin A. For THG imaging of label-free, 16-24 hour old hyphae, we used 1040 nm, 200 fs pulses from Yb KGW laser, while for TPEF, Ti:Sa pulses at 730 nm, 160 fs duration, were used. Both laser beams were focused with the same objective lens, Zeiss Plan Neofluar 40x1.3. Detection of THG was performed by PMT through Hoya glass UV filter with peak transmission at 340nm, while for TPEF 400-700 nm band pass filter was used. THG images revealed the chitinous cell wall and the membrane that are clearly separated. The appearance of the cell wall was confirmed by colocalization with TPEF images. Most prominent observation on the THG images is presence of numerous, seemingly randomly dispersed, round shiny features throughout the cytoplasm, for which we suspect that could be lipid droplets as indicated in Débarre et al., 2006.

REFERENCES

[1] Boyd, R. W. Academic Press, (2008).

[2] Débarre, D., Supatto, W., Pena, A. M., Fabre, A., Tordjmann, T., Combettes, L., … Beaurepaire, E. Nature Methods, 3(1), 47–53, (2006).

[3] Olivier, N., Luengo-Oroz, M. A., Duloquin, L., Faure, E., Savy, T., Veilleux, I., … Beaurepaire, E. Science (New York, N.Y.), 329(5994), 967–971, (2010).

[4] Tserevelakis, G. J., Filippidis, G., Krmpot, A. J., Vlachos, M., Fotakis, C., & Tavernarakis, N. Micron, 41(5), 444–447, (2010).