The use of Raman microspectroscopy for characterization

of tumor and tumor margin cell populations

M. Lazarevic1, M. Milosevic1 , M. Jaksic1, I. Pecinar2 and J. Milasin1

1School of Dental Medicine, University of Belgrade, Serbia

2Faculty of Agriculture, University of Belgrade, Serbia

e-mail:milos.lazarevic@stomf.bg.ac.rs

Introduction. Squamous and basal cell carcinoma (SCC, BCC) are the most common cancers in the maxillofacial region. Both types of tumors remain a considerable medical challenge, despite important advances in treatment and diagnosis that occurred during the last decades. Finding new tools for a more reliable and timely diagnosis would be of substantial importance and would improve therapy outcome. Raman microspectroscopy has emerged as a promising technique for in vitro and in vivo, non-destructive detection and biochemical characterization of several types of cancer.

Aim.  To compare Raman spectra of cells originating from oral squamous cell carcinoma (OSCC), basal cell carcinoma (BCC) and their surgical margins (SM), with the aim of evaluating the ability of Raman spectroscopy to detect differences between the two types of neoplasms and their surgical margins, as well as between tumor cells and control cells.

Methods. OSCC, BCC and SM cell cultures were generated. The cells from the 3rd passage were used for the experiment. After passing and counting cells, 1x106 cells of each culture was separated in centrifuge tubes in culture medium. After centrifugation, the precipitate was transferred without fixation directly to a gold microscope plate for Raman microspectroscopy. Raman signals were obtained by the HORIBA Jobin Yvon Xplora spectromicroscopic apparatus (HORIBA Jobin Yvonne S.A.S., Villeneuve-d'Asck, France) equipped with microscope BKS51 (Olympus, Tokyo, Japan). Laser diode at a wavelength of 785 nm and power of 90 mV, magnification of 100x, focus size of 2 μm and a time exposure of 100s was used. CCD camera (Syncerity, HORIBA Scientific, Edison, New Jersey, USA) was used for spectrum recording. All cell samples were recorded 30 times, by random selection of points. Raman cell spectra were observed in the range of 400-2600 cm-1. Acquisition of Raman spectra was performed using LabSpec 6 software (HORIBA Jobin Yvon S.A.S., Villeneuve-d'Ascq, France).

Results. The study showed considerable similarities between the spectra of the tumors cells and their respective margins and controls. However, differences of Raman spectra between the different cells cultures could be observed as well. Analysis of BCC Raman spectrum showed high levels of type I collagen, amino acids proline, hydroxyproline and valine (921-984 cm-1) as well as amide III (peak 1238 cm-1). The intensity of the 1635 cm-1 peak indicates an increased amount of protein and lipids in tumor cells compared to margin cells. The analysis of OSCC showed that amide peak (1242 cm-1) was more prominent in tumor cells than in margins; similarly, the amount of protein and lipids (peaks 1433 and 1648 cm-1) was higher in tumor cells than in margin cells. On the other hand, DNA / RNA levels (peak 781 cm-1) were higher in surgical margins.

Conclusion.  The analyzed tumor, tumor margin, and control cells displayed remarkable similarities, with however occasional differences sufficient to distinguish normal from cancer cells.