Intensity squeezed states of light by four wave mixing in potassium vapor

M. Curcic, B. Jelenkovic

Institute of Physics, Belgrade, Serbia

e-mail:marijac@ipb.ac.rs

We will present our recent results of intensity difference squeezing generated by four wave mixing (FWM) in high density potassium vapor. Squeezed light with the noise level of several dB below standard quantum limit is observed in the difference signal between correlated probe and conjugate beams. Previous studies of the squeezing in alkalis were done mainly for Rb and Cs [1, 2].

For the FWM process we used non-degenerate  double  scheme, with nearly co-propagating pump and probe beams. The source for the pump and the probe was the high power MBR (Coherent) laser. The vapor is contained in the vacuum K cell. For the difference of the probe and conjugate beam's intensities after the cell we used balanced detectors with a gain of 105 V/A. The signal difference was analysed using the spectrum analyzer.

We have vaired number of parameters: pump one photon detuning (OPD), two pump-probe detuning (TPD), temperature, pump and probe powers, angle between the beams and the lenght of the cell. The best squeezing, we obtained so far, is about – 5.5 dBm, before the correction for losses on the cell window, optics used behind the cell and the detection efficiency. This level of squeezing was obtained at pump and probe powers of 800 mW and 6 μW, OPD and TPD of 1.2 GHz and 6 MHz, at the cell temperature of 122 oC. We analysed effects of all mentioned parameters on the relative intensity squeezing and on the gains of the twin beams, and compare them with the behavior of squeezing found in Rb and Cs.

REFERENCES

[1] C. F. McCormick, A. M. Marino, V. Boyer, and P.D. Lett, , Phys. Rev. A 78, 043816 (2008).

[2] R. Ma,W. Liu, Z. Qin, X. Jiaand Ji. Gao,  Phys. Rev. A 96, 043843 (2017).