Influence of the protective layer on the photoacoustic response of transparent samples

M.N.Popovic1, M.V.Nesic1, S.P.Galovic1, K.Lj.Djordjevic2, D.D.Markushev3

1Vinca Institute of Nuclear Sciences – National institute of the Republic of Serbia, University of Belgrade

2Faculty of Physics, University of Belgrade

3Institute of Physics – National institute of the Republic of Serbia, University of Belgrade
e-mail:maricap@vin.bg.ac.rs

In the transmision photoacoustic measurements of transparent samples, using minimum volume cell configuration, a thin protective layer is applied on one surface of the examined samples in order to protect the microphone. The influence of this layer on the recorded photoacoustic response is examined. In this paper, the models of photoacoustic (PA) response for transmission PA setup configurations of two-layered optically transparent samples with thermal memory are analyzed. When the protective layer is illuminated, its influence is significant at high modulation frequencies and it has to be considered in the analysis of the recorded signal. When the layer is not illuminated, its influence is lost.

REFERENCES

[1] J. Medina, Yu. G. Gurevich, G. N. Logovinov, P. Rodriguez and G. Gonzalez de la Cruz,       Molecular Physics 100, 3133-3138 (2002).

[2] A. M. Mansanares, H. Vargas, F. Galembeck, J. Buijs, D. Bicanic, J. Appl. Phys. 70, 7046-7050 (1991).

[3] S. Galović, D. Kostoski, J. Appl. Phys. 93, 3063-3071 (2003).

[4] М.N. Popovic, D.D. Markushev, M.V. Nesic, M.I. Jordovic-Pavlovic, S.P. Galovic, J. Appl. Phys. 129(1):015104 (2021).

[5] M.N. Popovic, M.V. Nesic, M. Zivanov, D.D. Markushev, S.P. Galovic, Optical and Quantum Electronics, 50, 330 (2018)