High-power diffraction-limited laser systems with variable output characteristics oscillating in visible spectral range on atomic copper self-terminating transitions for advanced material microprocessing

I. Kostadinov, K. Temelkov, S. Slaveeva, G. Yankov

Metal Vapor Lasers Laboratory, Georgi Nadjakov Institute of Solid State Physics, Bulgarian Academy of Sciences, 72 Tzarigradsko Chaussee, 1784 Sofia, BULGARIA

E-mail: temelkov@issp.bas.bg

Though the copper (Cu) vapor laser is characterized with unique features and has remained the most powerful laser source in the visible spectral range (λ510.6 nm and λ578.2 nm) so far [1], the enormous technological difficulties in the laser tube development and operation have inspired and justified the development of low-temperature version of this perspective laser, such as Cu halide vapor lasers [2]. Though the continuous development of these lasers toward the design of compact reliable sealed-off lasers is quite successful, the competing with the solid state lasers operating in the visible spectral region via second harmonic generation is far from over. Commercial solid state lasers produced by leading laser companies usually delivers TEM00 Gaussian laser beam, i. e. beam propagation factor M2 is well in the range between 1.05 and 1.3, while metal vapor lasers produce partially or near diffraction-limited laser radiation (up to 90 % of the laser output is diffraction-limited) with a record-low M2 = 1.3 [3], due to the short laser pulse and a small number of cavity round-passes. It necessitates the development of master oscillator – power amplifier (MO–PA) laser systems using unstable cavity configuration and spatial filtering. The MO–PA system based on the atomic Cu bromide (CuBr) vapor laser is well established as a laser source used for precise micromachining in the industry for drilling, cutting, scribing, marking, welding, etc. of various materials. Though the development and operation difficulties, the atomic Cu vapor laser has unsurpassable advantages over the Cu halide lasers, namely lasing stability, higher laser pulse energy at the same average output power, two-time shorter laser pulse, the possibility to operate with small-bore laser tubes (the aperture smaller than 4 mm), etc. New considerably improved MO–PA laser systems delivering diffraction-limited high-power laser radiation (M2 = 1) at the atomic copper 510.6- and 578.2-nm lines are developed and investigated. As a master oscillator (MO), laser characteristics of CuBr vapor MO operating with a negative branch unstable resonator and small-bore Cu vapor MO oscillating with a flat-flat stable cavity are compared. In order to increase considerably the output parameters, two CuBr vapor laser tubes with a significantly enhanced active volume are compared as a power amplifier (PA). Various designs of the laser systems, namely single- and double-pass PAs, matching telescopes with different magnifications M are realized. The highest beam quality achieved so far with laser systems oscillating on the metal self-terminating transitions is confirmed by precise measurement of the threshold average output power for volumetric optical breakdown at different focusing distances f and a known breakdown threshold Ith. Laser radiation with both record-high average output power and beam quality is obtained. Precise microprocessing of various materials, such as stainless steel, silicon and optical grade fused quartz is accomplished. Using an aspheric lens with a focusing distance of 2 cm for the laser beam focusing, spherical aberrations are overcome and a crater diameter and a channel width of about 2 μm are achieved. Microcutting with multi-contour trepanning and wobbling is also realised.

ACKNOWLEDGEMENTS: This work was supported by the Project “Basic research and development of high-beam-quality high-power laser system oscillating in visible spectral range” of Bulgarian National Science Fund under grant KP-06-H37/2.

REFERENCES

[1] R. P. Hackel, B. E. Warner, Proceedings of SPIE 1859, 120 (1993).

- [2] S. Gabay, I. Smilanski, L. A. Levin, G. Erez, IEEE Journal of Quantum Electronics 13, 364(1977).

[3] M. J. Withfold, D. J. W. Brown, R. P. Mildren, R. J. Carman, G. D. Marshal, J. A. Paper  Progress in Quantum Electron Electronics 28, 165 (2004).