Application of polymer optical fiber sensor for urine parameter measurements: a preliminary study

P. Sokołowski1, K. Cierpiak1, P. Wityk 2, A. Drabik-Kruczkowska3 and M. Szczerska1

1Department of Metrology and Optoelectronics, Faculty of Electronics, Telecommunications and Informatics, Gdańsk University of Technology, 11/12 Narutowicza Street, Gdańsk, Poland

2Deparment of Molecular Biotechnology and Microbiology, Faculty of Chemistry, Gdańsk University of Technology, Narutowicza 11/12 Street, Gdańsk, Poland

3Deparment of Obstetics, Faculty of Medicine, Ludwik Rydygier Collegium Medicum in Bydgoszcz, Nicolaus Copernicus University in Toruń, 85-094, Bydgoszcz, Poland

e-mail:patsokol@pg.edu.pl

The use of polymer optical fiber (POF) sensor as sensors seems to be an expanding application field. There are numerous beneficial properties of polymer fiber, such as small size, flexibility, biocompatibility, immunity to electromagnetic interference, capability for direct optical measurements and ease of coupling light into fiber. With POF different kind of sensors can be designed and working under different principles such as: intensity sensor, interferometric, Bragg grating, optical time domain reflectometry.

In preliminary study we prepared U-Shape fiber, which is bent fiber sensor and mainly based on intensity modulation. For intensity modulation, changes are detected by optical loss, which can be changed through coupling condition, optical absorption characteristics, evanescent field. In order to improve the accuracy of the POF sensor, the part of the cladding was removed. The sensor can additionally be modified by applying additional layers, e.g. for bacteria detection. The U-shape sensor probe was dipped into a solution. A fiber optic sensor was applied to detect changes in spectra and the refractive index of its surrounding environment. Observed changes with support of machine learning can be used to diagnose patients' urine.

POF sensors leads to the creation of new applications. The advancement of technologies for the ways of functionalization and geometrical modification provides numerous opportunities for the modification and optimization U-shape sensors.

ACKNOWLEDGMENT

This project is supported by DS programs of Faculty of Electronics, Telecommunications and Informatics of Gdańsk Tech, by the Technetium Talent Management Grants 25/2022/IDUB/III.4.1/Tc and by the NdS/551425/2022/2022 grant under the Ministry of Education and Science program, as well as by the COST action CA21159 is gratefully acknowledged.

REFERENCES

[1] Habel, W.R.; Krebber, K. Photonic Sensors Review Fiber-Optic Sensor Applications in Civil and Geotechnical Engineering. Photonic Sensors (2011), 1, 268–280, doi:10.1007/s13320-011-0011-x.

[2] Gowri, A.; Rajamani, A.S.; Ramakrishna, B.; Sai, V.V.R. U-Bent Plastic Optical Fiber Probes as Refractive Index Based Fat Sensor for Milk Quality Monitoring. Optical Fiber Technology (2019), 47, 15–20, doi:10.1016/J.YOFTE.2018.11.019.

[3] Wandemur, G.; Rodrigues, D.; Allil, R.; Queiroz, V.; Peixoto, R.; Werneck, M.; Miguel, M. Plastic Optical Fiber-Based Biosensor Platform for Rapid Cell Detection. Biosens Bioelectron (2014), 54, 661–666, doi:10.1016/J.BIOS.2013.11.030.

[4] Wityk, P., Sokołowski, P., Szczerska, M., Cierpiak, K., Krawczyk, B., Markuszewski, M. J., Optical method supported by machine learning for urinary tract infection detection and urosepsis risk assessment. J. Biophotonics (2023), e202300095. https://doi.org/10.1002/jbio.202300095

[5] Danny, C.G.; Sai, V.V.R.; Raj, M.D. Investigating the Refractive Index Sensitivity of U-Bent Fiber Optic Sensors Using Ray Optics. Journal of Lightwave Technology, Vol. 38, Issue 6 (2020).

[6] Szczerska, M. Temperature Sensors Based on Polymer Fiber Optic Interferometer. Chemosensors 2022, Vol. 10, Page 228 (2022), 10, 228, doi:10.3390/CHEMOSENSORS10060228.

[7] Kruczkowski, M.; Drabik-Kruczkowska, A.; Marciniak, A.; Tarczewska, M.; Kosowska, M.; Szczerska, M. Predictions of cervical cancer identidication by photonic method combined with machine learning. Sci Rep 12, 3762 (2022), doi.org/10.1038/s41598-022-07723-1