Enhancement of LIBS Signal via NELIBS and LIPSS

for Biomedical Applications

Milica Vinić1,2, Immacolata C. Tommasi2, Andrea De Giacomo3, Caterina Gaudiuso4,

Francesco P. Mezzapesa4, Antonio Santagata5, Maria L. Pace5, Lucrezia Catanzaro6, Luisa D’Urso6, Giuseppe R. Compagnini6, Rosalba Gaudiuso2

1 Institute of Physics, University of Belgrade, Serbia

2Department of Chemistry, University of Bari “A. Moro”, Italy

3Department of Translational Biomedicine and Neurosciences, University of Bari “A. Moro”, Italy

4Institute of Photonics and Nanotechnology – CNR, Bari, Italy

5Institute of Structure of Matter – CNR, Potenza, Italy

6Department of Chemical Sciences, University of Catania, Italy

e-mail: rosalba.gaudiuso@uniba.it

Laser-Induced Breakdown Spectroscopy (LIBS) has emerged as a promising technique for elemental analysis in complex matrices, including biological fluids. However, its sensitivity - especially for trace elements - remains a critical limitation when targeting subtle biochemical differences such as those potentially associated with neurodevelopmental disorders like Autism Spectrum Disorder (ASD) [1]. In this context, signal enhancement strategies are essential to increase LIBS performance and unlock its potential in clinical diagnostics.

In this work, we present our preliminary results on two distinct signal enhancement approaches: Nanoparticle-Enhanced LIBS (NELIBS) and the application of Laser-Induced Periodic Surface Structures (LIPSS). Both methods aim to improve signal intensity and reproducibility in LIBS measurements by altering the physical properties of the substrate or sample–substrate interface.

Our experimental setup involves the analysis of aqueous PbCl₂ solutions and blood serum microdroplets deposited and dried on solid substrates. For NELIBS, substrates were functionalized with noble metal nanoparticles, known to facilitate localized plasma confinement and improved ablation efficiency. In parallel, LIPSS were fabricated on the same substrates using controlled laser irradiation, creating periodic nanostructures that enhance light–matter interaction during plasma generation.

The enhanced LIBS spectra were compared with conventional LIBS for both PbCl₂ and serum samples, focusing on signal-to-noise ratio, emission intensity, and spectral reproducibility. Our findings confirm that both NELIBS and LIPSS contribute to notable signal enhancement. The observed enhancements suggest increased sensitivity for trace element detection in complex biological fluids.

These results represent a first step toward applying advanced LIBS-based techniques for biomedical diagnostics. The long-term objective of our research is to develop a robust metallomic profiling method capable of detecting elemental biomarkers potentially associated with ASD. Future work will focus on applying these optimized LIBS protocols to real blood serum samples from pediatric subjects with ASD and neurotypical controls.

This study highlights the promise of physical and chemical substrate modifications for pushing the analytical limits of LIBS and opens new perspectives for its application in non-invasive and rapid diagnostic workflows.

Acknowledgements: This work has been partially supported by the European Union, PRIN-PNRR 2022. “Finanziato dall’Unione europea- Next Generation EU, Missione 4 Componente 1 CUP H53D23007820001”.

Reference:

[1] J.K. Kern et al, Journal of Trace Elements in Medicine and Biology 38 (2016) 8.