TERA-MIR Photonic Functionalities and Applications

M.F. Pereira1,2, H. Zafar1, A. Al-Ateqi1, A. Apostolakis2 and V. Vaks3

1Department of Physics, Khalifa University, Abu Dhabi, UAE

2Institute of Physics of the Czech Academy of Sciences, Prague, Czech Republic

3Institute for Physics of Microstructures, Nizhny Novgorod, Russia

e-mail: mauro.pereira@ku.ac.ae

This talk covers photonics theory, simulations device fabrication, testing and applications in the TERA-MIR (Terahertz and Mid-Infrared) range starts with a discussion of superlattice nonlinearities and their applications THz metabolomics [1-4].  Evolving from detection in the THZ to the MIR, we present an update on detection in the by discussing the evolution of a sensor system incorporating a state-of-the art quantum cascade laser emitting at 9 μm in resonance with the absorption line of NH3 located at 1103.46 cm–1. Our initial instrument demonstrated sensitivity at a low ppm level for the ammonia, enabling precise detection of ammonia traces in water [5].

Next, we review light polarization control devices, focusing on silicon-on-insulator (SOI) platforms. We analyze polarizers, polarization splitters, and polarization splitters/rotators using silicon nanowires, ridge waveguides, hybrid plasmonic waveguides, and subwavelength grating waveguides.  We start with some of our Near-Infrared (NIR) designs and show how they outperform existing devices in the literature [6-10].

Finally, we show how our designs are being modified for the MIR, with a discussion of existing [11-12] and forthcoming solutions.

REFERENCES

[1] Pereira, M.F., Nanomaterials 2022, 12, 1504.

[2] Al-Ateqi, A., Pereira, M.F., Opt Quant Electron 55, 1287 (2023).

[3] Vaks, V., Anfertev, V., Chernyaeva, M. et al., Sci Rep 12, 18117 (2022).

[4] Pereira, M.F., et al., Sci Rep 10, 15950 (2020).

[5] Apostolakis et al, ACS Omega 2024, 9, 17, 19127–19135.

[6] Zafar, H. et al, Opt. Express 31, 21389-21398 (2023)

[7] Zafar, H. et al, Opt. Express 2022, 30, 10087-10095.

[8] Zafar, H. et al, IEEE Journal of Selected Topics in Quantum Electronics, vol. 29, no. 6: Photonic

Signal Processing, pp. 1-9, Nov.-Dec. 2023, Art no. 4400109

[9] Zafar, H. et al, AIP Advances 2020, 10, 125214.

[10] H. Zafar, M. F. Pereira, Laser Photonics Rev 2024, 2301025.

[11] H. Zafar and M. F. Pereira, in IEEE Access, vol. 12, pp. 48294-48300, 2024.

[12] Zafar, H., Pereira, M.F. , Sci Rep 15, 5160 (2025).