Electromagnetic Induction Imaging with Atomic Magnetometers: Coming of Age

F. Renzoni

Department of Physics & Astronomy, University College London, London (UK)

e-mail: f.renzoni@ucl.ac.uk

Electromagnetic induction imaging (EMI) is a well-established imaging technique, developed over several decades. It has been widely used to assess cracks in metallic structures and to detect and localise buried metallic objects. In its standard configuration, EMI’s remit of application is severely restricted by the poor sensitivity of the sensing coil at low frequency. This prevents the exploration of interesting applications where low-frequency operation and/or extreme sensitivity is required, such as through-barrier imaging or imaging of human organs. The demonstration in 2014 of the use of an atomic magnetometer (AM) as sensor for EMI completely changed this scenario, and opened up new perspectives for EMI, as atomic magnetometers maintain their extreme sensitivity at low frequency. This talk discusses challenges and opportunities of EMI-AM in many sectors, from medicine to security and industrial monitoring.

REFERENCES

[1] C. Deans, L. Marmugi, S. Hussain, F. Renzoni, Electromagnetic Induction Imaging with a Radio-Frequency Atomic Magnetometer, Appl. Phys. Lett. 108, 103503 (2016).

[2] C. Deans, L.D. Griffin, L. Marmugi, and F. Renzoni, Machine learning based localization and classification with atomic magnetometers,  Phys. Rev. Lett.  120, 033204 (2018).

[3] H. Yao, B. Maddox, and F. Renzoni, High-sensitivity operation of an unshielded single cell radio-frequency atomic magnetometer, Opt. Express 30, 42015 (2022).

[4]B. Maddox, C. Deans, H. Yao, Y. Cohen and F. Renzoni, Rapid Electromagnetic Induction Imaging with an Optically Raster-Scanned Atomic Magnetometer, IEEE Trans. Instr. Meas. 72, 4503105 (2023).

[5]B. Maddox, and F. Renzoni, Two-photon Electromagnetic Induction Imaging with an Atomic Magnetometer, Appl. Phys. Lett. 122, 144001 (2023).