Potential of 5-ALA in Neurosurgery – Fluorescence and Photodynamic Therapy

Ronald Sroka1,2, Maximilian Aumiller1,2, Niklas Thon3, Herbert Stepp1,2 and Adrian Rühm1,2

1Laser-Forschungslabor, LIFE-Zentrum, LMU Klinikum, Germany

2Department of Urology, LMU Klinikum, Germany

3Department of Neurosurgery, LMU Klinikum, Germany

e-mail: ronald.sroka@med.uni-muenchen.de

Neurosurgery suffered from discrimination of tumor to normal tissue during surgical tissue resection, but also for selective treatment of GBM. The application of photoactive drugs and their use for fluorescence guided resection, optical guided biopsy and photodynamic therapy in neurosurgery could support such requests. Besides the medical needs and boundary conditions, the physics and technical research and developments will be presented. Different clinical aspects of photodynamic therapy (PDT), like treatment planning, treatment and dosimetry protocols, spectral on-line-monitoring (SOM) as well as follow-up evaluation of clinical outcome, are of interest regarding further iPDT developments. Preliminary study results as well as the potential of optical dosimetry concepts based on light-tissue interaction and light-photosensitizer interaction are included summarizing the latest developments in this field.

Keywords: Intraluminal, Interstitial photodynamic therapy, iPDT, online monitoring, medical imaging, brain tumor.

REFERENCES

[1] Schwartz, C. et al. (2015) Interstitial Photodynamic Therapy for De-Novo Glioblastoma Multiforme WHO IV: A Feasibility Study, In: Proceedings of the 66th Annual Meeting of the German Society of Neurosurgery (DGNC) (Karlsruhe, Germany, 7-10 June 2015), DOI:10.3205/15dgnc304

[3] Lietke, S. et al. (2021) Interstitial Photodynamic Therapy Using 5-ALA for Malignant Glioma Recurrences, Cancers 13:1767, DOI:10.3390/cancers13081767

[4] Beck, T.J. et al. (2007) Interstitial photodynamic therapy of nonresectable malignant glioma recurrences using 5-aminolevulinic acid induced protoporphyrin IX, Lasers Surg Med 39:386-393, DOI:10.1002/lsm.20507

[5] Aumiller, M. et al. (2021) Investigation of Changes of Optical Tissue Properties up to 50°C, OSA Technical Digest (Optica Publishing Group, 2021), JW1A.6, DOI:10.1364/BODA.2021.JW1A.6

[6] Yassine, A.-A., et al. (2019) Optimizing interstitial photodynamic therapy with custom cylindrical diffuser, J Biophotonics 12(1):e201800153, DOI:10.1002/jbio.201800153

[7] Rühm, A., et al. (2014) 5-ALA based photodynamic management of glioblastoma, Proc SPIE 8928:89280E, DOI:10.1117/12.2040268

[8] Aumiller, M. et al. (2022) Interrelation between Spectral Online Monitoring and Postoperative T1-Weighted MRI in Interstitial Photodynamic Therapy of Malignant Gliomas, Cancers 14:120, DOI:10.3390/cancers14010120