Principal Component Analysis for Photoacoustic Experiment Optimization: Evaluating Correlation vs. Covariance Approaches

S.M. Kovacevic1, M.N. Popovic1, M. Jordovic Pavlovic2, D.D. Markushev1, D.K. Markushev1

1Institute of Physics, Belgrade, Serbia

2Faculty of Mechanical Engineering and Civil Engineering in Kraljevo, University of Kragujevac, Kragujevac, Serbia

e-mail: slavica.kovacevic@ipb.ac.rs

Background – Photoacoustic material characterization is a non-destructive technique for assessing samples' optical, thermal, and mechanical properties. In this paper we utilize two approaches to PCA, covariance-based and correlation-based, to identify key modulation frequencies for neural network (NN) input, enabling accurate predictions. Using simulated data from a composite piston model [1], we analyzed thermoelastic photoacoustic signals from aluminum samples at varying thicknesses (l) and cut-off frequencies (f₀), across 300 modulation frequencies (10 Hz–10 MHz) in an open-cell setup (Fig 1a).

Results – The data pre-processing of input variables involved transforming amplitudes into decibels. For the covariance approach, the input data to PCA was scaled using maximum absolute (MA) scaling while for the correlation-based approach we used Z-scaled data as input, since Cor(MA-scaled)=Cov(Z-scaled)[].When using covariance-based PCA, five phases were selected with modulation frequencies ranging from 1 kHz to 38 kHz. In contrast, the correlation-based approach captured one amplitude and four phases, with frequencies between 22 kHz and 363 kHz.

The NN used had an input layer of 5 nodes, 5 and 10 nodes in the hidden layers and an output layer with 2 nodes, corresponding to l and f0. For better performance, logarithmic values of output features were used, and both input and output features of the NN were scaled using MA scaling. NN trained on the correlation-based set has smaller mean relative errors (0.03% for l and 0.05% for f0) compared to the NN trained on the covariance-based set (0.1% for l and 0.18% for f0) on the independent test data (data outside of the original set used for training).

a)

b)

c)

Figure 1. Open-cell experimental setup (a) where the sample placed directly on the microphone

is periodically heated by a current modulated LED. Independent test results for l (b) and f0 (c).

Conclusion – Current analysis shows that an NN with 5 thermoelastic signal points, selected using either of the two approaches, as input features predicts values of l and f0 with adequate precision and accuracy (<5% relative error). While the correlation-based selected variables cover a wider range of modulation frequencies, covariance selected variables capture only phases at significantly lower frequencies, closer to the working range of photoacoustic, from 20 Hz to 20kHz, and thus is a better fit.

REFERENCES

[1] McDonald, F. A. & Wetsel, G. C. Generalized theory of the photoacoustic effect. J. Appl. Phys. 49, 2313–2322 (1978).

[2] Djordjević, К. Lj. et al. Influence of data scaling and normalization on overall neural network performances in photoacoustics. Opt. Quantum Electron. 54, 501 (2022).

[3]  Choi, J. & Yang, X. Asymptotic properties of correlation-based principal component analysis, J. Econometrics, 229 (2022)